## Slide 1: Hall Effect Experiment
Engineering Physics Laboratory
EXPEERIMENT 1
Dr. Sarathlal K V
Department of Physics
SOE, UPES
+91 9845747350

## Slide 2: Hall effect EXPERIMENT
AIM:
To study the Hall Effect and hence determine the Hall coefficient (RH) and carrier density (n) of a given semiconductor.

## Slide 3: Schematic
APPARATUS:
Hall Probe (Ge Crystal) (thickness=0.4-0.5 mm); Hall Probe (InAs crystal), Hall Effect set-up, Digital mill voltmeter (0-200 mV), a constant current power supply and an electromagnet (Field intensity (11,000±5 % Gauss)

## Slide 4: FORMULA:
The Hall Coefficient and carrier density are given by
  Hall Coefficient,
  Carrier density,
where, is the thickness of the crystal along –axis, measured in cm
is the magnetic field applied along –axis, measured in Gauss
is current flowing along X-axis measured in mA
is the Hall voltage developed across the faces normal to -axis.
is electronic charge and its value is

## Slide 5: VIRTUAL Experiment

## Slide 6: Observation Table I
Current Vs Magnetic Field
Trial No: | Current through solenoid | Magnetic field generated
1 | 1 | 
2 | 1.5 | 
3 | 2 | 
4 | 2.5 | 
5 | 3 | 
6 | 3.5 | 
7 | 4 | 
8 | 4.5 | 
9 | 5 | 
Current (A)
Magnetic Field (Gauss)

## Slide 7: Observation Table I
S. No | Current | Hall Voltage | 
1 |  |  | 
2 |  |  | 
3 |  |  | 
4 |  |  | 
5 |  |  | 
S. No |  |  | 
1 |  |  | 
2 |  |  | 
3 |  |  | 
4 |  |  | 
5 |  |  | 
Thickness of the semiconductor crystal, z=0.5 mm=0.05 cm

## Slide 8: Observation Table II
S. No | Magnetic Field | Hall Voltage | 
1 |  |  | 
2 |  |  | 
3 |  |  | 
4 |  |  | 
5 |  |  | 
S. No |  |  | 
1 |  |  | 
2 |  |  | 
3 |  |  | 
4 |  |  | 
5 |  |  | 

## Slide 9: GRAPHS
Magnetic Field,
Hall Voltage
I =5 mA
Figure. Plot of VH (mV) versus Hz
Current,
Hall Voltage
Hz=500 Gauss
Figure. Plot of VH (mV) versus I